Section

Pre-Finished Dormer Specification

Part 1 – General

1.01	Summary

A.	Provide dormer work shown on the drawings, as specified herein, and as needed for a complete and proper installation.

B.	Coordinate dormer work of this section with General Conditions and supplementary conditions.

1.02	Submittals

A.	Submit shop drawings designed in accordance with local building code requirements.

B.	Submit color samples of exterior covering.

C.	Submit close-out documents, warranties, and manuals

1.03	Quality Assurance

A.	Use materials which shall be free from defects impairing strength, durability, and appearance; shall be of best commercial quality for purpose required; and shall comply with approved drawings.

B.	Use manufacturer with over fifteen (15) years of experience in the manufacturing of the specified product.

1.04	Warranty

A.	Warrant the product for one year after date of delivery of product installed			by others.

Part 2 – Products

2.01	Manufacturer

A.	Use pre-finished dormer as manufactured by:

Décor Architectural Products, Inc.

2375 Dorr Street Suite E, Toledo, OH 43607

Phone: 419-537-9493, Fax: 419-537-9493

Email: decorap@sbcglobal.net.

2.02	Materials

A.	Dormer to be wood and/or aluminum framing.

B.	Dormer to be clad in .032 aluminum standard colors.

2.03	Fabrication

A.	Design and Fabricate wood framing to maintain the utmost of quality per drawings.

B.	Design and Fabricate all exterior cladding with experienced sheet metal practices.

2.04	Finishes

A. 	Body to be aluminum clad in either baked on polyester finishes – standard colors or Kynar 500 finishes, standard colors.

B.	Top to be either aluminum or copper

2.05	Accessories

A.	Fabricate finial, weathervane and/or other topping ornament per drawings.

B.	Design and fabricate louver blades and firmly secure to dormer frame

C.	Design and fabricate moldings and ornaments in accordance with approved drawings.

2.06	Caulk

A.	Clean and dry all surfaces to be caulked.

B.	Apply with caulking gun, using nozzle of proper size to fit the joint.

C.	Use silicone caulking by Dow Corning, or approved equal.

Part 3 – Execution

3.01	Project Site Conditions

A.	Verify with owner of general contractor that site conditions are suitable for delivery.

B.	Confirm with owner or general contractor that all preparatory work is in place in accordance with shop drawings before delivery.

3.02	Installation

A.	Coordinate with other trades as required to assure proper and adequate installation.

B.	Install work with skilled workmen who are familiar with such work in accordance with approved shop drawings.